COMOX FIRE RESCUE

OPERATIONAL GUIDELINES

| SUBJECT: ANNUAL EQUIPMENT TESTS AND REPORTS | O.G. # 1.07.16 |
| --- | --- |

PURPOSE:	To ensure that annual equipment tests and reports are completed and filed for future reference.

SCOPE:	This Operational Guideline applies to all Fire Department officers.

POLICY:	Annual equipment testing must be done to ensure that equipment meets the safety standards set by the Workers Compensation Board and the Fire Department.  Records of these tests are to be maintained.

RATIONALE:	The Workers Compensation Board of British Columbia requires the Fire Department to provide for a system of regular inspections and tests of the equipment used in its operations. This system is an important component of the Fire Departments overall safety program.

PROCEDURE:

1.	Equipment tests as directed by the applicable Operational Guidelines are to be made annually and the test results recorded on the appropriate forms.  Equipment not meeting the standard is to be taken out of service until the appropriate repairs have been made and the equipment meets the standard.

2.	The records of completed equipment tests are to be forwarded to the Fire Chief who will maintain a file at the fire hall, available for inspection by a WCB officer or any other appropriate person.

3.	The Fire Chief will notify the WCB Prevention Division in the case of structural failure or manufacturing defects detected with any fire fighting vehicle, apparatus or other emergency equipment.

RELATED REFERENCES

O.G. 1.03.04		Personal Protective Equipment

O.G. 1.07.01		Self Contained Breathing Apparatus Maintenance

O.G. 1.07.10		Hose Testing

O.G. 1.07.09		Ground Ladder Testing

O.G. 1.07.03		Aerial Apparatus Testing

O.G. 1.03.05		Respirator Fit Test

| _________________________________ Signature of Fire Chief | Originally issued: August 31, 2000 Last amended: |
| --- | --- |